## Local_WWTP_Example
No. | City | Name of WWTPs | Plant capacity (thousand m3/d) | Technology | Electricity Use intensity (kWh/m3) | COD removed (mg/L) | TN removed (mg/L) | Chemical Cost (RMB/thousand m3) | Repair and maintenance Cost (RMB/thousand m3) | Administrative Cost (RMB/thousand m3) | Effluent standard | Climate zone
1 | Zhengzhou | Synthetic Local WWTP 01 | 45 | AAO | 0.31 | 260 | 32 | 42 | 95 | 38 | Class 1A | II
2 | Zhengzhou | Synthetic Local WWTP 02 | 80 | AAO | 0.28 | 310 | 36 | 38 | 88 | 35 | Class 1B | II
3 | Wuhan | Synthetic Local WWTP 03 | 30 | AO | 0.36 | 220 | 27 | 47 | 102 | 41 | Class 1B | III
4 | Wuhan | Synthetic Local WWTP 04 | 55 | AO | 0.33 | 280 | 30 | 44 | 98 | 39 | Class 2 and below | III
5 | Nanchang | Synthetic Local WWTP 05 | 25 | Oxidation Ditch | 0.41 | 190 | 24 | 52 | 110 | 45 | Class 1A | IV
6 | Nanchang | Synthetic Local WWTP 06 | 60 | Oxidation Ditch | 0.38 | 240 | 29 | 49 | 106 | 43 | Class 1B | IV
7 | Zhengzhou | Synthetic Local WWTP 07 | 20 | MBR | 0.58 | 180 | 22 | 61 | 120 | 50 | Above Class 1A | II
8 | Wuhan | Synthetic Local WWTP 08 | 35 | MBR | 0.54 | 210 | 25 | 58 | 116 | 48 | Class 1A | III
9 | Nanchang | Synthetic Local WWTP 09 | 18 | SBR | 0.46 | 230 | 28 | 55 | 112 | 46 | Class 1B | IV
10 | Wuhan | Synthetic Local WWTP 10 | 40 | Biological Filter | 0.39 | 200 | 26 | 50 | 104 | 42 | Class 2 and below | III